## Slide 1
Device and method for low-uncertainty and high-efficiency neutron TOF spectrometry
1 Jorge Martín Yi *
1 Daniel López Aldama
1 Guido Martín Hernández
2 Pierfrancesco Mastinu
2 Elizabeth Mussachio González
1 Centro de Aplicaciones Tecnológicas y Desarrollo Nuclear, Miramar, La Habana, Cuba
2 INFN- Laboratori Nazionali di Legnaro, Legnaro, Italia
* Contact: +53 54754717 - jorgeyi99@gmail.com

## Slide 2: Scope
Motivation & Detector’s proposal
Methods & Experiment features
Results
Estimation of uncertainties
Conclusions

## Slide 3
Li-glass Scintillator
O, Si, Mg, Ce, Al, Li
Boron-capture based detector
10B (n,α)7Li*
10% - 6Li
> 99% - 10B
478 keV γ
94%
Low abundance of the reactive element for neutron detection and high cross section uncertainties of remaining elements.
A boron-capture based detection system should guarantee higher efficiency and lower uncertainty than Li-glass scintillators.
BGO scintillator
6Li (n, 3H) 4He
7Li (p,n) 7Be
Tn - 1 keV - 250 keV

## Slide 4: Detected Neutron energy spectrum
j = 1 … n, where
MCNP6
pulsed proton beam
Li target
neutrons cone
Boron capsule
BGO scintillator
photomultiplier tube
ENDF/B-VIII.0 ≡ TENDL-2021

## Slide 5
*
* G.Feinberg et al., Quasi-stellar neutrons from the 7Li (p,n) 7Be reaction with an energy-broadened proton beam, Phys. Rev. C 85 (2012) 055810

## Slide 6: Detection efficiency
Boron detector
Li-glass scintillator
2.79 ± 0.01
Tp = 1886 keV

## Slide 7: Estimation of uncertainties
SANDY
the expected value + 300 altered cross sections
NJOY
ACE format
MCNP6
34 neutron energy bins
10234 runs
std(Tn) ~ 0.8% - 2.3%

## Slide 8: Emitted neutron energy spectrum
Tp = 2018 keV

## Slide 9: Detection efficiency’s uncertainties
- 6Li atomic fraction in the glass
- 6Li energy averaged microscopic capture cross section for Tn energy
- atomic fraction of isotope χ in the glass
- energy averaged microscopic elastic scattering cross section of isotope χ

## Slide 10: Detection efficiency’s uncertainties

## Slide 11: conclusions
7Li(p,n)7Be was used as a neutron source.
The standard nuclear reaction cross section 10B(n,α)7Li* is used to measure neutron spectra from 1 keV to 250 keV with systematic uncertainties below 2.3%.
A count ratio of 2.79 between our detector and a comercial Li-glass scintillator was achieved.
Boron-based neutron detection system showed superior performance in both detection efficiency and systematic uncertainty when compared to the Li-glass scintillator.
Outline

## Slide 12
Device and method for low-uncertainty and high-efficiency neutron TOF spectrometry
https://authors.Elsevier.com/c/1hq-KcPqbota-
Article link: