## Slide 1
Preliminary results of the neutron inelastic cross section measurements on 54Fe
Adina Olacel
Horia Hulubei National Institute for Physics and Nuclear Engineering (IFIN-HH), Magurele, Romania
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
1

## Slide 2
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
2
Outline
Motivation
Experimental setup
Preliminary results
Conclusions
Experimental particularities

## Slide 3
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
3
Motivation
The need of energy increases with the development of human civilization.
As the energy sources are getting low, the nuclear energy becomes the most reliable type of energy despite all the issues.
A new generation of nuclear reactors is currently under development requiring a better understanding and precise cross sections of all neutron-induced reactions that may occur during operation.
Iron is an important structural material in the design of nuclear. Around 6% of natural iron is 54Fe.
54Fe is part of a project that addresses issues in connection to nuclear criticality safety and reactor physics.
The measured data are needed to improve shielding calculations for which iron is an essential component.
The results will be evaluated at IRSN (Institute for Radiological Protection and Nuclear Safety), France to generate nuclear data libraries and uncertainty.

## Slide 4
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
4
Experimental setup
GELINA

## Slide 5
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
4
Experimental setup
GAINS
Flight path 100 m
12 HPGe detectors @ 110o, 150o and 125o
Relative efficiency: 100%
FWHM ≈ 2.8 keV for the 1332 keV of 60Co
Fission chamber to monitor the neutron flux
Digital acquisition (ACQIRIS digitizers)
  12 bit amplitude resolution (4096 channels)
  420 MS/s (2.38 ns)
Time of flight technique:
  n time of flight → En
  pulse amplitude → Eγ
235U fission chamber

## Slide 6
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
5
Experimental setup
Experimental particularities
54Fe sample:
Enrichment - 97.68%
Mass – 19.5 g
Thickness – 0.932 g/cm2
Diameter - 50 mm
1 year lease
15 568 $
To return with < 0.6 Bq/g.
(activity measurements at HADES underground facility)

## Slide 7
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
6
Preliminary results

## Slide 8
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
7
Gamma production cross sections
Eγ=1408.1 keV
Preliminary

## Slide 9
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
8
Gamma production cross sections
Preliminary

## Slide 10
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
9
Level cross sections

## Slide 11
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
10
The cross section of the first excited level
Preliminary

## Slide 12
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
11
Total inelastic cross section

## Slide 13
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
12
Total inelastic cross section
Preliminary

## Slide 14
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
13
Bonus – 56Fe
2.24% 56Fe in the sample
The gamma production cross section of the first transition in 56Fe

## Slide 15
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
14
The amplitude spectrum of a HPGe detector

## Slide 16
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
15
Check – 28Si
The gamma production cross section of the first transition in 28Si

## Slide 17
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
16
Conclusions
13 gamma rays were observed from the inelastic scattering of neutrons on 54Fe
We calculated the corresponding gamma production cross section, the level cross section and the total inelastic cross section
The results were compared with TALYS 1.8 theoretical calculations using the default input parameters.
Preliminary results - still things to be done.

## Slide 18
Joint ICTP-IAEA Workshop on the Evaluation of Nuclear Reaction Data for Applications, 2-13 October 2017
Thank you!